Wednesday, September 10th

Assignment 8

User Manual Oscilloscope

Frinsi-1014D

- Introduction
- Warning
- Function Indicator diagram
- Button function indiation diagram
- Operating instructions
- Analysis of common problems

Technical Vocabulary
- Adjust

- Check

- Switch
- Click

- Navigate

- Press

- Rotate

- To apply force or pressure to a button
- To quiclky tap on a device screen or button
- To change between two or more options
- To verify or examine something for accuracy
- To change or modify something to fit specific needs
- To make through a system or application to find something
- To move in a circular motion around a central point

2. Serious Warning!
1. Cuando dos canales son usados al mismo tiempo, la pinza de tierra de las dos
sondas deben estar conectas juntas. Esta estrictamente prohibido conectar la
pinza de tierra de las dos sondas a diferentes potenciales, especialmente cuando
la diferencia de potencial en las terminales es de equipamento de alta potencia
o 220 V, de lo contrario, la placa madre del osciloscopio se quemara. Porque
los dos canales estan a tierra juntos, conectando distintos potenciales llevara a
un pequeño circuito de los cables a tierra del interior de la placa madre, y todos
los osciloscopios son iguales;
2. La entrada de BNC del osciloscopio puede soportar 400 V de voltaje como
maximo. Esta esctrictamente prohibido darle mas de 400 V de voltaje en la
posicion de la sonda x1.
3. Debe ser usada la fuente original. Esta estrictamente prohibido usar una
fuente de alimentacion o USB o otros dispositivos en prueba. De lo contario, el
cable a tierra de la placa madre podria tener un cortocircuito durante la prueba.

4. La sonda x100 (como el soldador ultrasonico, el limpiador ultrasonico, etc.)
o incluso la sonda x1000 ( como el extremo de alta tension o el transformador
de alta frecuencia, bobina de cocina de induccion, etc) debe ser usado para
medir señales de alta frecuencia y alta tension.

3. Fill in the blank: Oscilloscope – Screen – Signal – Storage – Computer
1. The FNIRSI-1014D is a type of oscilloscope
2. It has a 7 inch screen
3. It can measure different types of signal
4. It has large storage for saving data
5. It can connect to a computer using a USB cable

OSCILLOSCOPE USER MANUAL(PART2)

## ACTIVITY 1 (Page 3):
What is the bandwidth of a 1x probe? The bandwidth of a 1x probe is 5 MHz.
What is the bandwidth of a 10x probe? The bandwidth of a 10x probe is 100 MHz.
When should you use a 10x probe? You should use a 10x probe when the measurement frequency is higher than 5 MHz.
What happens if you use a 1x probe for a high-frequency signal? The signal will be greatly attenuated and won't display correctly.
What is the main reason the signal is attenuated? The probe line has a capacitance of 100 to 300 picofarads, which attenuates high-frequency signals when they reach the oscilloscope input.

## ACTIVITY 2 (Matching)
1. CHANNEL - A line for a signal to go through
2. TRIGGER - A signal to start something
3. WAVEFORM - The shape of a signal
4. BUTTON - Something you press
5. KNOB - Something you turn
6. VOLTAGE - Electrical power
7. CURSOR - A moving marker on the screen
8. DISPLAY - What you see on the screen
## ACTIVITY 2 (Fill in the blanks)
To open channel 2, click the CH2 button.
Turn the vertical knob to make the waveform bigger.
Press the red button to clear the display.
Use the auto button to adjust automatically.

assignment 8 (part 3)
operation instruction
1)	fill the blanks
[gen]-OK-square-capture-signal-
1-	press the signal button to switch the wavefrom type
2-	the duty cycle is only for the square wave
3-	to save part of the waveform use the capture function
4-	click the ok button to confirm a selection
5-	the [gen] generator can output saved waveform

2)	use these words
frequency- duty cicle- signal-square wave- output
1-	the duty cicle can be set from 1% to 99%
2-	only the square wave has a duty cicle setting
3-	the frequency is how many times the wave repeats
4-	you can output the capture waveform
5-	the signal generator creates different waveform

3)	choose the correct option
1-	press [OK-menu] to confirm your selection
2-	the signal generator control interface appears on the [top-lower] right corner
3-	the duty cicle can be adjusted from [1%-0%] to 99%
4-	you can use the [knob- cable] to change the frequency

Assignment 9
## Exercise 2 - Listen and complete the warnings
1. You must wear a hard hat on the building site.
2. Don't go through that door!
3. You must wear safety gloves everywhere in the factory.
4. Don't touch that machine! It's very hot.
5. Be careful! High-voltage electricity. You might get an electric shock.
6. You mustn't use your mobile phone here.
## Exercise 5 - Complete the instructions with the words in the box
1. Never use a lighted match in this workshop.
2. Always wash your hands after using these chemicals.
3. Do not enter this small space.
4. You must wear safety boots when you lift this.
5. Do not smoke in this factory.
6. You mustn't touch this machine with bare hands. It's hot.

Exercise 6 – Write these signs in another way
1. Do not smoke here
2. Do not use mobiles phones here
3. Do not run here
4. Do not entry here
5. Do not exit in this way
6. Do not park here
## Exercise 7 - Complete these warnings
1. Take care. Heavy weight. You might/could injure your back.
2. Warning. There is a cold surface here. You could/might injure your hands or arms.
3. Be careful. You might/could trap your hand in the gears.
4. Danger. There are lasers in this laboratory. You could/might injure your eyes.

Page 3

Excersice 1 – Match the picture with the description

1. You might burn your hands	B
2. You could injure your head	D
3. You might fall into the gap	F
4. You could trip over the bricks	A
5. You might trap your hand in the gears	C
6. You could get an electric shock	E

Exercise 4 – Say the warnings and their possible results

1. There is not fire extinguisher in case of a fire.
2. The floor is wet. You could slip and fall
3. The emergency exit is blocked. Someone could get trapped in case of fire.
4. There's a low beam above you. You could hit your head and get injured.